**BID FORM**

**for the procurement procedure for total field scalar magnetometer**

*The contract is awarded within the framework of the project subsidized by the State Budget, under the program "Development of modern breakthrough technologies for state security and resilience" pk. "SZAFIR", titled "Radio-electronic warfare resistant, intelligent, autonomous navigation and magnetic anomaly detection system for unmanned platforms for operations in maritime areas" (contract DOB-SZAFIR/01/B/018/04/2021)*

**Contracting Authority:**

FlyFocus sp. z o. o.
Fort Wola 22 St.
01-258 Warsaw
POLAND
Contact e-mail: CONTACT@FLYFOCUS.PL
KRS 0000696050
NIP 5213795003
REGON 368329114

**Contractor:**

Name: .............................................................................................................................................................

Headquarters: .................................................................................................................................................

Phone number: ...............................................................................................................................................

E-mail address: ...............................................................................................................................................

VAT NR: ............................................................................ KRS: ......................................................................

Contact person: …….........................................................................................................................................

In response to the announcement of the request for quotation for the supply of **total field scalar magnetometer,** we submit an offer under the following conditions:

**Net worth: ................................................ USD/EUR**

**In words: ................................................ USD/EUR**

**Gross value: ................................................ USD/EUR**

**In words: ................................................ USD/EUR**

In order for the Employer to be able to verify the fulfillment of the minimum requirements of the offered **total field scalar magnetometer**, we provide in the Bid Form the name of the offered model and the name of the manufacturer, as well as information confirming that the offered equipment meets the minimum requirements indicated in the Request for Proposal.

Manufacturer: ...........................................................................

Model: .......................................................................................

Completion date:……………………………………………………………………

Payment terms:……………………………………………………………………..

|  |  |  |
| --- | --- | --- |
| **Name** | **Required parameters** | **Offered parameters** |
| Sampling Rate  | at least 1000 Hz |  |
| Field Range | at least 20 uT – 100 uT |  |
| Power Supply | at least 10-15V range |  |
| Noise Floor: | at most 4 pT / RMS(Hz) |  |
| Heading Error: | at most 80 nTp-p measured at 50 micro T field strength |  |
| Operating Temperature | at least from -35 to 50 degrees C |  |

**We further declare that:**

1. We guarantee completion of the order within 30 days from the date of receipt of the advance payment.
2. The bid price includes all costs of performing the future contractual performance.
3. We hereby declare that we have familiarized ourselves with the contents of the Request for Proposal and all annexes and do not raise any objections to them, and have obtained all necessary information for the preparation of the offer and execution of the order.
4. We consider ourselves bound by this offer for a period of 30 days.
5. If our offer is found to be the most advantageous, we undertake to accept the order for execution.
6. We declare that we are aware of the criminal liability for making false statements in order to obtain a contract, resulting from Article 297 § 1 of the Act of June 6, 1997. - Penal Code (Journal of Laws of 1997 No. 88 item 553 - consolidated text as amended).

 ...........................................................

 *date and signature*